Electronic Instrumentation and Optoelectronics LAB

LAB5: Design and characterization of a bandpass filter. Multimeter

The aim of this LAB session is to identify all the sources of uncertainty and estimate the total uncertainty when measuring the frequency response of a linear system. The student will have to build a passive bandpass filter with -3dB cut-off high pass and low pass frequencies of 20 Hz 10 kHz respectively. Moreover, he/she will have to design a program in LabView to measure automatically the frequency response (transfer function) of the filter.

PRE-LAB Exercises.

PRELAB5-1.- Calculate the resistor values R1 and R2 in the following circuit in order to have the 20 Hz and 10 kHz cut-off frequencies for the filter.

1Z1=1R2+1Zc2=1R2+jωC2

1Z2=1R1+1Z1=1R1+1R2+jωC2

Z2=11R1+1R2+jωCL=R1+R2R1+R2+jR1R2ωC2

High-pass filter: f1=20Hz→R1=12×π×20×100×10-9=79.58kΩ→79 kΩ

Low-pass filter: f2=10kHz→R2=12×π×10×103×10-9=15.91kΩ→15kΩ

PRELAB5-2.- Estimate the effect of the input capacitance of the oscilloscope+cable when connecting the output of the filter to the oscilloscope.

(Note: Assume that the cable capacitance is 90 pF)

CTOT=Co+Cc+CL=90 pF+1 nF=1.09 nF

R2=12πf2CTOT→f2=12πR2CTOT=12×π×15.91×103×10-9=9.175 kHz

PRELAB5-3.- Estimate total uncertainty in -3dB cut-off frequencies when the tolerance of the capacitors is 10% and resistors is 5%

In order to improve the accuracy of the cut-off frequencies we will connect a function generator (FG Agilent 33120A) at the input of the filter and measure the output with a digital multimeter (DMM Agilent 34401A) and an oscilloscope (Agilent DSO3062A). The cut-off frequency will be determined from the attenuation at the output, the frequency of the function generator and the theoretical relationship for a first order filter.

For a high pass filter: Hs=ss+w0⇒Hf=ff2+f02=VoutVin

Thus f0 can be estimated from: f0=f∙VinVout2-1

AR1=0.05×79.577×103=3978.85 Ω

AR2=0.05×15.915×103=795.75 Ω

AC1=0.1×100×10-9=10×10-9 F

AC2=0.1×1×10-9=10-10 F

UR1=3978.853=2297.2Ω

UR2=795.753=459.43Ω

UC1=10×10-93=5.77×10-9 F

UC2=1×10-103=5.77×10-11 F

CR1=df1dR1=-2×π×C12×π×R1×C12=-12×π×C1×R12=-2.51×10-4Ω

CR1=df2dR2=-12×π×C2×R22=-0.628 Ω

CC1=df1dC1=-12×π×R1×C12=-2×108 F

CC2=df2dC2=-12×π×R2×C22=-1×10-13 F

Uf1=CR1UR12+CC1UC12=1.29 Hz

Uf2=CR2UR22+CC2UC22=288.52 Hz

PRELAB5-4.- Determine total uncertainty in the -3dB cut-off frequency (f0) of the high pass filter when measuring the output of the filter with de DMM, the input amplitude (function generator) is 1V and the frequency is 20 Hz

| Input magnitude Xi | Estimation xi | Standard uncertainty u(xi) | pdf | Sensitivity coefficient ci | Contribution to the output uncertainty ui(y) |
| --- | --- | --- | --- | --- | --- |
| f | 20 Hz | 2.31E-4 Hz | Uniform | 1 | 2.31E-4 Hz |
| Vout | 0.707 V | 19.68E-6 V | Normal | -56.57 | -1.11 Hz |
| Vin | 1 V | 6.13E-3 V | Uniform | 9.99 | 6.12E-2 Hz |
| f0 | 20 Hz | 1.11 Hz |  |  |  |

FG: 1V and f=20Hz 	Vp=1V  Vpp=2

Vin:

Accuracy=±1%×2V±1mVpp=0.01×2±0.001=0.021Vpp=21mVpp

AF=0.1dB=109120=1.0116

A=21mVpp×1.0116=21.24mVpp

CVin=dfodvin=ddvinfvinvout2-112=f×12×1vinvout2-1×2×vinvout2=9.99

U=A3=21.243=12.26 mVpp=6.13mVp

Uvinf0=UVin×Cvin=6.13×10-3×9.99=6.12×10-2 Hz

f:

A=±20ppm×20Hz±3pHz=4×10-4Hz

U=A3=4×10-43=2.31×10-4Hz            Uff0=2.31×10-4Hz

DMM:

Vout:

Accuracy=0.005%×0.709V+0.0004%×1V=3.935×10-5

U=AK=3.935×10-53=19.68μV

CVout=dfodvout=f×12×1vinvout2-1×-vin2×2×voutvout=-56.57

Uvoutf0=19.68×10-6×-56.57=-1.11 Hz

Uf0=i=1Nvif02=6.12×10-22+2.31×10-42+-1.112=1.11Hz